## Results
bat_price_factor | Total_Renewable_MW | PV_MW | Wind_MW | cons_target_% | total_MWh | storage_duration_h | total_MW | grid_kWh | grid_cost_USD | curtail_kWh | actual_cons_% | energy_pen_% | total_cost_USD | LCOE_USD_per_kWh | min_offgrid_hours | mean_offgrid_hours | p10_offgrid_hours | max_offgrid_hours | survival_rate | worst_start_day | worst_start_hour | worst_failure_reason
1 | 0.002 | 0.00052459 | 0.0014754 | 60 | 0.5 | 25.81 | 0.25 | 168746 | 1952 | 696 | 60.05 | 0.56 | 31035 | 0.1829 | 8 | 20.2856 | 15 | 35 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.002 | 0.00052459 | 0.0014754 | 70 | 0.5 | 25.81 | 0.25 | 168586 | 1947 | 522 | 70.05 | 0.66 | 31031 | 0.1829 | 8 | 20.2856 | 15 | 35 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.002 | 0.00052459 | 0.0014754 | 80 | 0.5 | 25.81 | 0.25 | 168428 | 1944 | 348 | 80.05 | 0.75 | 31027 | 0.1828 | 8 | 20.2856 | 15 | 35 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.002 | 0.00052459 | 0.0014754 | 90 | 0.5 | 25.81 | 0.25 | 168270 | 1940 | 173 | 90.05 | 0.84 | 31024 | 0.1828 | 8 | 20.2856 | 15 | 35 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.002 | 0.00052459 | 0.0014754 | 100 | 0.5 | 25.81 | 0.25 | 168112 | 1937 | 0 | 100 | 0.93 | 31021 | 0.1828 | 8 | 20.2856 | 15 | 35 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.007 | 0.0018361 | 0.0051639 | 60 | 0.5 | 25.81 | 0.25 | 166322 | 1894 | 2438 | 60.05 | 1.99 | 31622 | 0.1863 | 8 | 20.8966 | 15 | 39 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.007 | 0.0018361 | 0.0051639 | 70 | 0.5 | 25.81 | 0.25 | 165758 | 1886 | 1828 | 70.05 | 2.32 | 31613 | 0.1863 | 8 | 20.8966 | 15 | 39 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.007 | 0.0018361 | 0.0051639 | 80 | 0.5 | 25.81 | 0.25 | 165195 | 1879 | 1217 | 80.05 | 2.65 | 31607 | 0.1863 | 8 | 20.8966 | 15 | 39 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.007 | 0.0018361 | 0.0051639 | 90 | 0.5 | 25.81 | 0.25 | 164627 | 1874 | 607 | 90.05 | 2.99 | 31601 | 0.1862 | 8 | 20.8966 | 15 | 39 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.007 | 0.0018361 | 0.0051639 | 100 | 0.5 | 25.81 | 0.25 | 164066 | 1870 | 0 | 100 | 3.32 | 31598 | 0.1862 | 8 | 20.8966 | 15 | 39 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.012 | 0.0031475 | 0.0088525 | 60 | 0.5 | 25.81 | 0.25 | 163869 | 1849 | 4179 | 60.05 | 3.43 | 32220 | 0.1899 | 8 | 21.574 | 15 | 43 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.012 | 0.0031475 | 0.0088525 | 70 | 0.5 | 25.81 | 0.25 | 162898 | 1838 | 3133 | 70.05 | 4.01 | 32209 | 0.1898 | 8 | 21.574 | 15 | 43 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.012 | 0.0031475 | 0.0088525 | 80 | 0.5 | 25.81 | 0.25 | 161931 | 1829 | 2087 | 80.05 | 4.58 | 32200 | 0.1897 | 8 | 21.574 | 15 | 43 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.012 | 0.0031475 | 0.0088525 | 90 | 0.5 | 25.81 | 0.25 | 160945 | 1822 | 1041 | 90.05 | 5.16 | 32193 | 0.1897 | 8 | 21.574 | 15 | 43 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.012 | 0.0031475 | 0.0088525 | 100 | 0.5 | 25.81 | 0.25 | 159987 | 1817 | 0 | 100 | 5.72 | 32188 | 0.1897 | 8 | 21.574 | 15 | 43 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.017 | 0.004459 | 0.012541 | 60 | 0.5 | 25.81 | 0.25 | 161404 | 1806 | 5920 | 60.05 | 4.89 | 32820 | 0.1934 | 9 | 22.3137 | 15 | 47 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.017 | 0.004459 | 0.012541 | 70 | 0.5 | 25.81 | 0.25 | 160027 | 1792 | 4438 | 70.05 | 5.7 | 32806 | 0.1933 | 9 | 22.3137 | 15 | 47 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.017 | 0.004459 | 0.012541 | 80 | 0.5 | 25.81 | 0.25 | 158637 | 1781 | 2956 | 80.05 | 6.52 | 32795 | 0.1933 | 9 | 22.3137 | 15 | 47 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.017 | 0.004459 | 0.012541 | 90 | 0.5 | 25.81 | 0.25 | 157252 | 1772 | 1474 | 90.05 | 7.33 | 32787 | 0.1932 | 9 | 22.3137 | 15 | 47 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.017 | 0.004459 | 0.012541 | 100 | 0.5 | 25.81 | 0.25 | 155881 | 1766 | 0 | 100 | 8.14 | 32781 | 0.1932 | 9 | 22.3137 | 15 | 47 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.022 | 0.0057705 | 0.01623 | 60 | 0.5 | 25.81 | 0.25 | 158913 | 1764 | 7661 | 60.05 | 6.36 | 33422 | 0.197 | 9 | 23.1418 | 15 | 52 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.022 | 0.0057705 | 0.01623 | 70 | 0.5 | 25.81 | 0.25 | 157133 | 1747 | 5744 | 70.05 | 7.4 | 33405 | 0.1969 | 9 | 23.1418 | 15 | 52 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.022 | 0.0057705 | 0.01623 | 80 | 0.5 | 25.81 | 0.25 | 155318 | 1734 | 3826 | 80.05 | 8.47 | 33392 | 0.1968 | 9 | 23.1418 | 15 | 52 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.022 | 0.0057705 | 0.01623 | 90 | 0.5 | 25.81 | 0.25 | 153529 | 1724 | 1908 | 90.05 | 9.53 | 33382 | 0.1967 | 9 | 23.1418 | 15 | 52 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.022 | 0.0057705 | 0.01623 | 100 | 0.5 | 25.81 | 0.25 | 151740 | 1717 | 0 | 100 | 10.58 | 33375 | 0.1967 | 9 | 23.1418 | 15 | 52 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.027 | 0.007082 | 0.019918 | 60 | 0.5 | 25.81 | 0.25 | 156416 | 1724 | 9403 | 60.05 | 7.83 | 34025 | 0.2005 | 9 | 24.0342 | 15 | 56 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.027 | 0.007082 | 0.019918 | 70 | 0.5 | 25.81 | 0.25 | 154223 | 1704 | 7049 | 70.05 | 9.12 | 34005 | 0.2004 | 9 | 24.0342 | 15 | 56 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.027 | 0.007082 | 0.019918 | 80 | 0.5 | 25.81 | 0.25 | 151981 | 1689 | 4695 | 80.05 | 10.44 | 33990 | 0.2003 | 9 | 24.0342 | 15 | 56 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.027 | 0.007082 | 0.019918 | 90 | 0.5 | 25.81 | 0.25 | 149782 | 1677 | 2342 | 90.05 | 11.74 | 33978 | 0.2002 | 9 | 24.0342 | 15 | 56 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.027 | 0.007082 | 0.019918 | 100 | 0.5 | 25.81 | 0.25 | 147571 | 1668 | 0 | 100 | 13.04 | 33969 | 0.2002 | 9 | 24.0342 | 15 | 56 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.032 | 0.0083934 | 0.023607 | 60 | 0.5 | 25.81 | 0.25 | 153903 | 1683 | 11144 | 60.05 | 9.31 | 34629 | 0.2041 | 9 | 25.0315 | 16 | 63 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.032 | 0.0083934 | 0.023607 | 70 | 0.5 | 25.81 | 0.25 | 151303 | 1660 | 8354 | 70.05 | 10.84 | 34606 | 0.2039 | 9 | 25.0315 | 16 | 63 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.032 | 0.0083934 | 0.023607 | 80 | 0.5 | 25.81 | 0.25 | 148631 | 1644 | 5565 | 80.05 | 12.41 | 34589 | 0.2038 | 9 | 25.0315 | 16 | 63 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.032 | 0.0083934 | 0.023607 | 90 | 0.5 | 25.81 | 0.25 | 146012 | 1630 | 2776 | 90.05 | 13.96 | 34575 | 0.2037 | 9 | 25.0315 | 16 | 63 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.032 | 0.0083934 | 0.023607 | 100 | 0.5 | 25.81 | 0.25 | 143387 | 1620 | 0 | 100 | 15.5 | 34565 | 0.2037 | 9 | 25.0315 | 16 | 63 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.037 | 0.0097049 | 0.027295 | 60 | 0.5 | 25.81 | 0.25 | 151397 | 1644 | 12885 | 60.05 | 10.78 | 35232 | 0.2076 | 10 | 26.0952 | 16 | 81 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.037 | 0.0097049 | 0.027295 | 70 | 0.5 | 25.81 | 0.25 | 148359 | 1618 | 9660 | 70.05 | 12.57 | 35207 | 0.2075 | 10 | 26.0952 | 16 | 81 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.037 | 0.0097049 | 0.027295 | 80 | 0.5 | 25.81 | 0.25 | 145272 | 1599 | 6435 | 80.05 | 14.39 | 35188 | 0.2074 | 10 | 26.0952 | 16 | 81 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.037 | 0.0097049 | 0.027295 | 90 | 0.5 | 25.81 | 0.25 | 142222 | 1584 | 3209 | 90.05 | 16.19 | 35172 | 0.2073 | 10 | 26.0952 | 16 | 81 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.037 | 0.0097049 | 0.027295 | 100 | 0.5 | 25.81 | 0.25 | 139179 | 1572 | 0 | 100 | 17.98 | 35161 | 0.2072 | 10 | 26.0952 | 16 | 81 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.042 | 0.011016 | 0.030984 | 60 | 0.5 | 25.81 | 0.25 | 148882 | 1604 | 14626 | 60.05 | 12.27 | 35837 | 0.2112 | 10 | 27.2123 | 16 | 95 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.042 | 0.011016 | 0.030984 | 70 | 0.5 | 25.81 | 0.25 | 145400 | 1577 | 10965 | 70.05 | 14.32 | 35809 | 0.211 | 10 | 27.2123 | 16 | 95 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.042 | 0.011016 | 0.030984 | 80 | 0.5 | 25.81 | 0.25 | 141891 | 1556 | 7304 | 80.05 | 16.39 | 35788 | 0.2109 | 10 | 27.2123 | 16 | 95 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.042 | 0.011016 | 0.030984 | 90 | 0.5 | 25.81 | 0.25 | 138405 | 1538 | 3643 | 90.05 | 18.44 | 35771 | 0.2108 | 10 | 27.2123 | 16 | 95 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.042 | 0.011016 | 0.030984 | 100 | 0.5 | 25.81 | 0.25 | 134939 | 1526 | 0 | 100 | 20.48 | 35758 | 0.2107 | 10 | 27.2123 | 16 | 95 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.047 | 0.012328 | 0.034672 | 60 | 0.5 | 25.81 | 0.25 | 146348 | 1566 | 16368 | 60.05 | 13.76 | 36441 | 0.2147 | 10 | 28.5158 | 16 | 109 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.047 | 0.012328 | 0.034672 | 70 | 0.5 | 25.81 | 0.25 | 142424 | 1536 | 12271 | 70.05 | 16.07 | 36411 | 0.2146 | 10 | 28.5158 | 16 | 109 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.047 | 0.012328 | 0.034672 | 80 | 0.5 | 25.81 | 0.25 | 138502 | 1513 | 8174 | 80.05 | 18.38 | 36388 | 0.2144 | 10 | 28.5158 | 16 | 109 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.047 | 0.012328 | 0.034672 | 90 | 0.5 | 25.81 | 0.25 | 134584 | 1494 | 4077 | 90.05 | 20.69 | 36370 | 0.2143 | 10 | 28.5158 | 16 | 109 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.047 | 0.012328 | 0.034672 | 100 | 0.5 | 25.81 | 0.25 | 130688 | 1481 | 0 | 100 | 22.99 | 36356 | 0.2142 | 10 | 28.5158 | 16 | 109 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.052 | 0.013639 | 0.038361 | 60 | 0.5 | 25.81 | 0.25 | 143806 | 1527 | 18109 | 60.05 | 15.26 | 37047 | 0.2183 | 10 | 29.8178 | 16 | 123 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.052 | 0.013639 | 0.038361 | 70 | 0.5 | 25.81 | 0.25 | 139450 | 1495 | 13576 | 70.05 | 17.82 | 37014 | 0.2181 | 10 | 29.8178 | 16 | 123 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.052 | 0.013639 | 0.038361 | 80 | 0.5 | 25.81 | 0.25 | 135109 | 1470 | 9043 | 80.05 | 20.38 | 36990 | 0.218 | 10 | 29.8178 | 16 | 123 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.052 | 0.013639 | 0.038361 | 90 | 0.5 | 25.81 | 0.25 | 130756 | 1450 | 4510 | 90.05 | 22.95 | 36969 | 0.2179 | 10 | 29.8178 | 16 | 123 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.052 | 0.013639 | 0.038361 | 100 | 0.5 | 25.81 | 0.25 | 126439 | 1436 | 0 | 100 | 25.49 | 36955 | 0.2178 | 10 | 29.8178 | 16 | 123 | 0 | 171 | 0 | bess_energy_depleted
1 | 0.057 | 0.014951 | 0.042049 | 60 | 0.5 | 25.81 | 0.25 | 141273 | 1489 | 19850 | 60.05 | 16.75 | 37652 | 0.2219 | 10 | 31.139 | 16 | 135 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.057 | 0.014951 | 0.042049 | 70 | 0.5 | 25.81 | 0.25 | 136483 | 1455 | 14881 | 70.05 | 19.57 | 37618 | 0.2217 | 10 | 31.139 | 16 | 135 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.057 | 0.014951 | 0.042049 | 80 | 0.5 | 25.81 | 0.25 | 131708 | 1428 | 9913 | 80.05 | 22.39 | 37591 | 0.2215 | 10 | 31.139 | 16 | 135 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.057 | 0.014951 | 0.042049 | 90 | 0.5 | 25.81 | 0.25 | 126930 | 1407 | 4944 | 90.05 | 25.2 | 37570 | 0.2214 | 10 | 31.139 | 16 | 135 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.057 | 0.014951 | 0.042049 | 100 | 0.5 | 25.81 | 0.25 | 122186 | 1392 | 0 | 100 | 28 | 37555 | 0.2213 | 10 | 31.139 | 16 | 135 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.062 | 0.016262 | 0.045738 | 60 | 0.5 | 25.81 | 0.25 | 138743 | 1452 | 21591 | 60.05 | 18.24 | 38258 | 0.2254 | 10 | 32.6247 | 16 | 145 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.062 | 0.016262 | 0.045738 | 70 | 0.5 | 25.81 | 0.25 | 133523 | 1416 | 16187 | 70.05 | 21.32 | 38222 | 0.2252 | 10 | 32.6247 | 16 | 145 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.062 | 0.016262 | 0.045738 | 80 | 0.5 | 25.81 | 0.25 | 128327 | 1387 | 10782 | 80.05 | 24.38 | 38194 | 0.2251 | 10 | 32.6247 | 16 | 145 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.062 | 0.016262 | 0.045738 | 90 | 0.5 | 25.81 | 0.25 | 123113 | 1364 | 5378 | 90.05 | 27.45 | 38170 | 0.2249 | 10 | 32.6247 | 16 | 145 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.062 | 0.016262 | 0.045738 | 100 | 0.5 | 25.81 | 0.25 | 117945 | 1348 | 0 | 100 | 30.5 | 38155 | 0.2248 | 10 | 32.6247 | 16 | 145 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.067 | 0.017574 | 0.049426 | 60 | 0.5 | 25.81 | 0.25 | 136214 | 1415 | 23333 | 60.05 | 19.73 | 38865 | 0.229 | 10 | 33.9747 | 16 | 157 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.067 | 0.017574 | 0.049426 | 70 | 0.5 | 25.81 | 0.25 | 130556 | 1376 | 17492 | 70.05 | 23.07 | 38826 | 0.2288 | 10 | 33.9747 | 16 | 157 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.067 | 0.017574 | 0.049426 | 80 | 0.5 | 25.81 | 0.25 | 124931 | 1346 | 11652 | 80.05 | 26.38 | 38796 | 0.2286 | 10 | 33.9747 | 16 | 157 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.067 | 0.017574 | 0.049426 | 90 | 0.5 | 25.81 | 0.25 | 119290 | 1322 | 5811 | 90.05 | 29.7 | 38772 | 0.2285 | 10 | 33.9747 | 16 | 157 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.067 | 0.017574 | 0.049426 | 100 | 0.5 | 25.81 | 0.25 | 113702 | 1305 | 0 | 100 | 33 | 38755 | 0.2284 | 10 | 33.9747 | 16 | 157 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.072 | 0.018885 | 0.053115 | 60 | 0.5 | 25.81 | 0.25 | 133686 | 1378 | 25074 | 60.05 | 21.22 | 39472 | 0.2326 | 10 | 35.2993 | 16.9 | 168 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.072 | 0.018885 | 0.053115 | 70 | 0.5 | 25.81 | 0.25 | 127595 | 1338 | 18797 | 70.05 | 24.81 | 39432 | 0.2324 | 10 | 35.2993 | 16.9 | 168 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.072 | 0.018885 | 0.053115 | 80 | 0.5 | 25.81 | 0.25 | 121537 | 1306 | 12521 | 80.05 | 28.38 | 39400 | 0.2322 | 10 | 35.2993 | 16.9 | 168 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.072 | 0.018885 | 0.053115 | 90 | 0.5 | 25.81 | 0.25 | 115468 | 1281 | 6245 | 90.05 | 31.96 | 39374 | 0.232 | 10 | 35.2993 | 16.9 | 168 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.072 | 0.018885 | 0.053115 | 100 | 0.53 | 27.15 | 0.26 | 109532 | 1261 | 31 | 99.95 | 35.45 | 40845 | 0.2407 | 10 | 37.35 | 18 | 174 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.077 | 0.020197 | 0.056803 | 60 | 0.5 | 25.81 | 0.25 | 131164 | 1342 | 26815 | 60.05 | 22.71 | 40079 | 0.2362 | 10 | 36.7116 | 17 | 173 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.077 | 0.020197 | 0.056803 | 70 | 0.5 | 25.81 | 0.25 | 124636 | 1300 | 20103 | 70.05 | 26.55 | 40037 | 0.2359 | 10 | 36.7116 | 17 | 173 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.077 | 0.020197 | 0.056803 | 80 | 0.5 | 25.81 | 0.25 | 118145 | 1267 | 13391 | 80.05 | 30.38 | 40004 | 0.2357 | 10 | 36.7116 | 17 | 173 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.077 | 0.020197 | 0.056803 | 90 | 0.5 | 25.81 | 0.25 | 111648 | 1240 | 6679 | 90.05 | 34.21 | 39977 | 0.2356 | 10 | 36.7116 | 17 | 173 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.077 | 0.020197 | 0.056803 | 100 | 0.63 | 32.33 | 0.31 | 105426 | 1209 | 34 | 99.95 | 37.87 | 47231 | 0.2783 | 14 | 45.9274 | 21 | 195 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.082 | 0.021508 | 0.060492 | 60 | 0.5 | 25.81 | 0.25 | 128625 | 1307 | 28556 | 60.05 | 24.2 | 40687 | 0.2398 | 10 | 38.1089 | 17 | 182 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.082 | 0.021508 | 0.060492 | 70 | 0.5 | 25.81 | 0.25 | 121680 | 1263 | 21408 | 70.05 | 28.3 | 40644 | 0.2395 | 10 | 38.1089 | 17 | 182 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.082 | 0.021508 | 0.060492 | 80 | 0.5 | 25.81 | 0.25 | 114754 | 1228 | 14260 | 80.05 | 32.38 | 40609 | 0.2393 | 10 | 38.1089 | 17 | 182 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.082 | 0.021508 | 0.060492 | 90 | 0.5 | 25.81 | 0.25 | 107842 | 1201 | 7112 | 90.05 | 36.45 | 40581 | 0.2391 | 10 | 38.1089 | 17 | 182 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.082 | 0.021508 | 0.060492 | 100 | 0.73 | 37.92 | 0.37 | 101322 | 1157 | 36 | 99.95 | 40.29 | 54057 | 0.3185 | 18 | 54.6438 | 25 | 215 | 0 | 358 | 12 | bess_energy_depleted
1 | 0.087 | 0.02282 | 0.06418 | 60 | 0.5 | 25.81 | 0.25 | 126080 | 1272 | 30297 | 60.05 | 25.7 | 41296 | 0.2434 | 10 | 39.8356 | 17 | 184 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.087 | 0.02282 | 0.06418 | 70 | 0.5 | 25.81 | 0.25 | 118727 | 1226 | 22714 | 70.05 | 30.04 | 41251 | 0.2431 | 10 | 39.8356 | 17 | 184 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.087 | 0.02282 | 0.06418 | 80 | 0.5 | 25.81 | 0.25 | 111370 | 1190 | 15130 | 80.05 | 34.37 | 41214 | 0.2429 | 10 | 39.8356 | 17 | 184 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.087 | 0.02282 | 0.06418 | 90 | 0.5 | 25.81 | 0.25 | 104057 | 1162 | 7546 | 90.05 | 38.68 | 41186 | 0.2427 | 10 | 39.8356 | 17 | 184 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.087 | 0.02282 | 0.06418 | 100 | 0.86 | 44.38 | 0.43 | 97211 | 1105 | 38 | 99.95 | 42.72 | 61869 | 0.3646 | 22 | 65.95 | 30 | 229 | 0 | 358 | 6 | bess_energy_depleted
1 | 0.092 | 0.024131 | 0.067869 | 60 | 0.5 | 25.81 | 0.25 | 123550 | 1238 | 32039 | 60.05 | 27.19 | 41906 | 0.2469 | 10 | 41.4548 | 17 | 191 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.092 | 0.024131 | 0.067869 | 70 | 0.5 | 25.81 | 0.25 | 115772 | 1191 | 24019 | 70.05 | 31.78 | 41858 | 0.2467 | 10 | 41.4548 | 17 | 191 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.092 | 0.024131 | 0.067869 | 80 | 0.5 | 25.81 | 0.25 | 108007 | 1153 | 15999 | 80.05 | 36.35 | 41821 | 0.2464 | 10 | 41.4548 | 17 | 191 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.092 | 0.024131 | 0.067869 | 90 | 0.5 | 25.81 | 0.25 | 100278 | 1125 | 7980 | 90.05 | 40.91 | 41793 | 0.2463 | 10 | 41.4548 | 17 | 191 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.092 | 0.024131 | 0.067869 | 100 | 1.01 | 51.89 | 0.5 | 93112 | 1052 | 40 | 99.95 | 45.13 | 70844 | 0.4175 | 25 | 79.9404 | 36 | 255 | 0 | 358 | 6 | bess_energy_depleted
1 | 0.097 | 0.025443 | 0.071557 | 60 | 0.5 | 25.81 | 0.25 | 121006 | 1205 | 33780 | 60.05 | 28.69 | 42516 | 0.2505 | 10 | 43.0699 | 17 | 193 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.097 | 0.025443 | 0.071557 | 70 | 0.5 | 25.81 | 0.25 | 112834 | 1156 | 25324 | 70.05 | 33.51 | 42468 | 0.2503 | 10 | 43.0699 | 17 | 193 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.097 | 0.025443 | 0.071557 | 80 | 0.5 | 25.81 | 0.25 | 104645 | 1118 | 16869 | 80.05 | 38.33 | 42429 | 0.25 | 10 | 43.0699 | 17 | 193 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.097 | 0.025443 | 0.071557 | 90 | 0.5 | 25.81 | 0.25 | 96496 | 1089 | 8413 | 90.05 | 43.14 | 42401 | 0.2499 | 10 | 43.0699 | 17 | 193 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.097 | 0.025443 | 0.071557 | 100 | 1.17 | 60.4 | 0.59 | 89017 | 999 | 42 | 99.95 | 47.54 | 80942 | 0.477 | 29 | 95.7288 | 42 | 277 | 0 | 359 | 0 | bess_energy_depleted
1 | 0.102 | 0.026754 | 0.075246 | 60 | 0.5 | 25.81 | 0.25 | 118469 | 1173 | 35521 | 60.05 | 30.19 | 43128 | 0.2541 | 10 | 44.5541 | 17 | 195 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.102 | 0.026754 | 0.075246 | 70 | 0.5 | 25.81 | 0.25 | 109894 | 1123 | 26630 | 70.05 | 35.24 | 43078 | 0.2539 | 10 | 44.5541 | 17 | 195 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.102 | 0.026754 | 0.075246 | 80 | 0.5 | 25.81 | 0.25 | 101285 | 1084 | 17738 | 80.05 | 40.31 | 43039 | 0.2536 | 10 | 44.5541 | 17 | 195 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.102 | 0.026754 | 0.075246 | 90 | 0.5 | 25.81 | 0.25 | 92731 | 1056 | 8847 | 90.05 | 45.36 | 43011 | 0.2535 | 10 | 44.5541 | 17 | 195 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.102 | 0.026754 | 0.075246 | 100 | 1.35 | 69.9 | 0.68 | 84931 | 946 | 44 | 99.95 | 49.95 | 92137 | 0.5429 | 35 | 114.1925 | 50 | 300 | 0 | 357 | 18 | bess_energy_depleted
1 | 0.107 | 0.028066 | 0.078934 | 60 | 0.5 | 25.81 | 0.25 | 115927 | 1142 | 37262 | 60.05 | 31.69 | 43741 | 0.2578 | 10 | 45.6644 | 17 | 197 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.107 | 0.028066 | 0.078934 | 70 | 0.5 | 25.81 | 0.25 | 106921 | 1091 | 27935 | 70.05 | 36.99 | 43690 | 0.2575 | 10 | 45.6644 | 17 | 197 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.107 | 0.028066 | 0.078934 | 80 | 0.5 | 25.81 | 0.25 | 97888 | 1051 | 18608 | 80.05 | 42.32 | 43650 | 0.2572 | 10 | 45.6644 | 17 | 197 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.107 | 0.028066 | 0.078934 | 90 | 0.5 | 25.81 | 0.25 | 88920 | 1023 | 9281 | 90.05 | 47.6 | 43622 | 0.2571 | 10 | 45.6644 | 17 | 197 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.107 | 0.028066 | 0.078934 | 100 | 1.56 | 80.76 | 0.78 | 80863 | 893 | 47 | 99.95 | 52.35 | 104863 | 0.6179 | 41 | 139.1589 | 59 | 328 | 0 | 359 | 18 | bess_energy_depleted
1 | 0.112 | 0.029377 | 0.082623 | 60 | 0.5 | 25.81 | 0.25 | 113382 | 1112 | 39004 | 60.05 | 33.19 | 44354 | 0.2614 | 10 | 46.889 | 17 | 198 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.112 | 0.029377 | 0.082623 | 70 | 0.5 | 25.81 | 0.25 | 103948 | 1059 | 29241 | 70.05 | 38.75 | 44302 | 0.2611 | 10 | 46.889 | 17 | 198 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.112 | 0.029377 | 0.082623 | 80 | 0.5 | 25.81 | 0.25 | 94483 | 1019 | 19477 | 80.05 | 44.32 | 44261 | 0.2608 | 10 | 46.889 | 17 | 198 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.112 | 0.029377 | 0.082623 | 90 | 0.5 | 25.81 | 0.25 | 85109 | 992 | 9714 | 90.05 | 49.85 | 44234 | 0.2607 | 10 | 46.889 | 17 | 198 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.112 | 0.029377 | 0.082623 | 100 | 1.78 | 91.76 | 0.89 | 76769 | 842 | 49 | 99.95 | 54.76 | 117734 | 0.6938 | 47 | 165.9507 | 69 | 410 | 0 | 358 | 6 | bess_energy_depleted
1 | 0.117 | 0.030689 | 0.086311 | 60 | 0.5 | 25.81 | 0.25 | 110841 | 1082 | 40745 | 60.05 | 34.68 | 44968 | 0.265 | 10 | 48.5007 | 17 | 199 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.117 | 0.030689 | 0.086311 | 70 | 0.5 | 25.81 | 0.25 | 100967 | 1029 | 30546 | 70.05 | 40.5 | 44914 | 0.2647 | 10 | 48.5007 | 17 | 199 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.117 | 0.030689 | 0.086311 | 80 | 0.5 | 25.81 | 0.25 | 91080 | 988 | 20347 | 80.05 | 46.33 | 44874 | 0.2644 | 10 | 48.5007 | 17 | 199 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.117 | 0.030689 | 0.086311 | 90 | 0.5 | 25.81 | 0.25 | 81296 | 961 | 10148 | 90.05 | 52.09 | 44847 | 0.2643 | 10 | 48.5007 | 17 | 199 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.117 | 0.030689 | 0.086311 | 100 | 1.99 | 102.73 | 1 | 72674 | 793 | 51 | 99.95 | 57.17 | 130591 | 0.7695 | 53 | 201.2096 | 78.9 | 536 | 0 | 358 | 0 | bess_energy_depleted
1 | 0.122 | 0.032 | 0.09 | 60 | 0.5 | 25.81 | 0.25 | 108296 | 1054 | 42486 | 60.05 | 36.18 | 45583 | 0.2686 | 10 | 50.1027 | 17 | 207 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.122 | 0.032 | 0.09 | 70 | 0.5 | 25.81 | 0.25 | 97995 | 999 | 31851 | 70.05 | 42.25 | 45528 | 0.2683 | 10 | 50.1027 | 17 | 207 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.122 | 0.032 | 0.09 | 80 | 0.5 | 25.81 | 0.25 | 87692 | 959 | 21216 | 80.05 | 48.32 | 45488 | 0.2681 | 10 | 50.1027 | 17 | 207 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.122 | 0.032 | 0.09 | 90 | 0.5 | 25.81 | 0.25 | 77478 | 933 | 10582 | 90.05 | 54.34 | 45462 | 0.2679 | 10 | 50.1027 | 17 | 207 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.122 | 0.032 | 0.09 | 100 | 2.2 | 113.71 | 1.1 | 68555 | 745 | 53 | 99.95 | 59.6 | 143444 | 0.8453 | 58 | 236.5459 | 87 | 682 | 0 | 359 | 0 | bess_energy_depleted
1 | 0.127 | 0.033311 | 0.093689 | 60 | 0.5 | 25.81 | 0.25 | 105755 | 1026 | 44227 | 60.05 | 37.68 | 46198 | 0.2722 | 10 | 51.6986 | 17 | 208 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.127 | 0.033311 | 0.093689 | 70 | 0.5 | 25.81 | 0.25 | 95002 | 970 | 33157 | 70.05 | 44.02 | 46143 | 0.2719 | 10 | 51.6986 | 17 | 208 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.127 | 0.033311 | 0.093689 | 80 | 0.5 | 25.81 | 0.25 | 84322 | 930 | 22086 | 80.05 | 50.31 | 46103 | 0.2717 | 10 | 51.6986 | 17 | 208 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.127 | 0.033311 | 0.093689 | 90 | 0.53 | 27.22 | 0.26 | 74418 | 900 | 11126 | 89.95 | 56.15 | 47647 | 0.2808 | 11 | 54.8795 | 18 | 216 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.127 | 0.033311 | 0.093689 | 100 | 2.43 | 125.23 | 1.21 | 64434 | 698 | 55 | 99.95 | 62.03 | 156902 | 0.9246 | 65 | 280.0658 | 98 | 728 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.132 | 0.034623 | 0.097377 | 60 | 0.5 | 25.81 | 0.25 | 103212 | 998 | 45969 | 60.05 | 39.18 | 46815 | 0.2759 | 10 | 53.5884 | 17 | 215 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.132 | 0.034623 | 0.097377 | 70 | 0.5 | 25.81 | 0.25 | 92047 | 942 | 34462 | 70.05 | 45.76 | 46759 | 0.2755 | 10 | 53.5884 | 17 | 215 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.132 | 0.034623 | 0.097377 | 80 | 0.5 | 25.81 | 0.25 | 80969 | 902 | 22956 | 80.05 | 52.29 | 46719 | 0.2753 | 10 | 53.5884 | 17 | 215 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.132 | 0.034623 | 0.097377 | 90 | 0.6 | 30.92 | 0.3 | 70807 | 856 | 11564 | 89.95 | 58.27 | 52374 | 0.3086 | 13 | 63.0733 | 21 | 239 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.132 | 0.034623 | 0.097377 | 100 | 2.63 | 135.73 | 1.31 | 60309 | 653 | 58 | 99.95 | 64.46 | 169231 | 0.9973 | 71 | 323.6808 | 107 | 791 | 0 | 358 | 6 | bess_energy_depleted
1 | 0.137 | 0.035934 | 0.10107 | 60 | 0.5 | 25.81 | 0.25 | 100675 | 972 | 47710 | 60.05 | 40.67 | 47431 | 0.2795 | 11 | 55.2164 | 17 | 216 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.137 | 0.035934 | 0.10107 | 70 | 0.5 | 25.81 | 0.25 | 89097 | 915 | 35767 | 70.05 | 47.5 | 47375 | 0.2792 | 11 | 55.2164 | 17 | 216 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.137 | 0.035934 | 0.10107 | 80 | 0.5 | 25.81 | 0.25 | 77610 | 876 | 23825 | 80.05 | 54.27 | 47336 | 0.2789 | 11 | 55.2164 | 17 | 216 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.137 | 0.035934 | 0.10107 | 90 | 0.67 | 34.79 | 0.34 | 67182 | 812 | 12002 | 89.95 | 60.41 | 57300 | 0.3377 | 16 | 73.5253 | 24 | 269 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.137 | 0.035934 | 0.10107 | 100 | 2.84 | 146.78 | 1.42 | 56190 | 611 | 60 | 99.95 | 66.89 | 182172 | 1.0735 | 77 | 369.0027 | 116 | 899 | 0 | 358 | 0 | bess_energy_depleted
1 | 0.142 | 0.037246 | 0.10475 | 60 | 0.5 | 25.81 | 0.25 | 98135 | 946 | 49451 | 60.05 | 42.17 | 48049 | 0.2831 | 11 | 56.8014 | 17 | 217 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.142 | 0.037246 | 0.10475 | 70 | 0.5 | 25.81 | 0.25 | 86155 | 889 | 37073 | 70.05 | 49.23 | 47993 | 0.2828 | 11 | 56.8014 | 17 | 217 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.142 | 0.037246 | 0.10475 | 80 | 0.5 | 25.81 | 0.25 | 74249 | 851 | 24695 | 80.05 | 56.25 | 47954 | 0.2826 | 11 | 56.8014 | 17 | 217 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.142 | 0.037246 | 0.10475 | 90 | 0.75 | 38.94 | 0.38 | 63532 | 769 | 12440 | 89.95 | 62.56 | 62537 | 0.3685 | 19 | 85.1336 | 27 | 315 | 0 | 358 | 12 | bess_energy_depleted
1 | 0.142 | 0.037246 | 0.10475 | 100 | 3.06 | 157.85 | 1.53 | 52051 | 570 | 62 | 99.95 | 69.33 | 195143 | 1.1499 | 83 | 436.5418 | 125 | 953 | 0 | 358 | 0 | bess_energy_depleted
1 | 0.147 | 0.038557 | 0.10844 | 60 | 0.5 | 25.81 | 0.25 | 95611 | 921 | 51192 | 60.05 | 43.66 | 48668 | 0.2868 | 11 | 58.239 | 18 | 219 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.147 | 0.038557 | 0.10844 | 70 | 0.5 | 25.81 | 0.25 | 83186 | 864 | 38378 | 70.05 | 50.98 | 48611 | 0.2865 | 11 | 58.239 | 18 | 219 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.147 | 0.038557 | 0.10844 | 80 | 0.5 | 25.81 | 0.25 | 70885 | 827 | 25564 | 80.05 | 58.23 | 48573 | 0.2862 | 11 | 58.239 | 18 | 219 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.147 | 0.038557 | 0.10844 | 90 | 0.84 | 43.24 | 0.42 | 59885 | 727 | 12878 | 89.95 | 64.71 | 67939 | 0.4004 | 22 | 101.824 | 31 | 336 | 0 | 358 | 6 | bess_energy_depleted
1 | 0.147 | 0.038557 | 0.10844 | 100 | 3.33 | 172.04 | 1.67 | 47925 | 529 | 64 | 99.95 | 71.76 | 211596 | 1.2469 | 91 | 544.4205 | 138 | 1405 | 0 | 357 | 18 | bess_energy_depleted
1 | 0.152 | 0.039869 | 0.11213 | 60 | 0.5 | 25.81 | 0.25 | 93094 | 896 | 52934 | 60.05 | 45.14 | 49287 | 0.2904 | 11 | 59.8534 | 18 | 221 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.152 | 0.039869 | 0.11213 | 70 | 0.5 | 25.81 | 0.25 | 80208 | 840 | 39684 | 70.05 | 52.73 | 49230 | 0.2901 | 11 | 59.8534 | 18 | 221 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.152 | 0.039869 | 0.11213 | 80 | 0.5 | 25.81 | 0.25 | 67491 | 804 | 26434 | 80.05 | 60.23 | 49194 | 0.2899 | 11 | 59.8534 | 18 | 221 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.152 | 0.039869 | 0.11213 | 90 | 0.92 | 47.64 | 0.46 | 56242 | 687 | 13316 | 89.95 | 66.86 | 73455 | 0.4329 | 23 | 121.9096 | 35 | 475 | 0 | 358 | 6 | bess_energy_depleted
1 | 0.152 | 0.039869 | 0.11213 | 100 | 3.7 | 190.93 | 1.85 | 43797 | 488 | 66 | 99.95 | 74.19 | 233291 | 1.3747 | 102 | 651.8596 | 159 | 1517 | 0 | 357 | 0 | bess_energy_depleted
1 | 0.157 | 0.04118 | 0.11582 | 60 | 0.5 | 25.81 | 0.25 | 90551 | 873 | 54675 | 60.05 | 46.64 | 49907 | 0.2941 | 11 | 61.7815 | 18 | 223 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.157 | 0.04118 | 0.11582 | 70 | 0.5 | 25.81 | 0.25 | 77243 | 817 | 40989 | 70.05 | 54.48 | 49851 | 0.2938 | 11 | 61.7815 | 18 | 223 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.157 | 0.04118 | 0.11582 | 80 | 0.5 | 25.81 | 0.25 | 64109 | 782 | 27303 | 80.05 | 62.22 | 49816 | 0.2936 | 11 | 61.7815 | 18 | 223 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.157 | 0.04118 | 0.11582 | 90 | 1.01 | 52.17 | 0.51 | 52576 | 647 | 13754 | 89.95 | 69.02 | 79124 | 0.4663 | 25 | 139.7781 | 39 | 529 | 0 | 358 | 6 | bess_energy_depleted
1 | 0.157 | 0.04118 | 0.11582 | 100 | 4.06 | 209.81 | 2.03 | 39643 | 449 | 68 | 99.95 | 76.64 | 254976 | 1.5025 | 113 | 786.6753 | 188.9 | 1808 | 0 | 357 | 18 | bess_energy_depleted
1 | 0.162 | 0.042492 | 0.11951 | 60 | 0.5 | 25.81 | 0.25 | 88017 | 850 | 56416 | 60.05 | 48.13 | 50527 | 0.2977 | 11 | 63.7637 | 18 | 246 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.162 | 0.042492 | 0.11951 | 70 | 0.5 | 25.81 | 0.25 | 74288 | 794 | 42294 | 70.05 | 56.22 | 50472 | 0.2974 | 11 | 63.7637 | 18 | 246 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.162 | 0.042492 | 0.11951 | 80 | 0.5 | 25.81 | 0.25 | 60751 | 761 | 28173 | 80.05 | 64.2 | 50439 | 0.2972 | 11 | 63.7637 | 18 | 246 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.162 | 0.042492 | 0.11951 | 90 | 1.1 | 56.96 | 0.55 | 48936 | 608 | 14192 | 89.95 | 71.16 | 85080 | 0.5014 | 28 | 160.0781 | 43 | 588 | 0 | 358 | 0 | bess_energy_depleted
1 | 0.162 | 0.042492 | 0.11951 | 100 | 4.5 | 232.1 | 2.25 | 35485 | 412 | 71 | 99.95 | 79.09 | 280482 | 1.6528 | 126 | 1030.013 | 209.9 | 2413 | 0 | 358 | 0 | bess_energy_depleted
1 | 0.167 | 0.043803 | 0.1232 | 60 | 0.5 | 25.81 | 0.25 | 85459 | 827 | 58157 | 60.05 | 49.64 | 51148 | 0.3014 | 11 | 66.0938 | 18 | 271 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.167 | 0.043803 | 0.1232 | 70 | 0.5 | 25.81 | 0.25 | 71354 | 773 | 43600 | 70.05 | 57.95 | 51094 | 0.3011 | 11 | 66.0938 | 18 | 271 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.167 | 0.043803 | 0.1232 | 80 | 0.5 | 25.81 | 0.25 | 57913 | 743 | 29078 | 80.03 | 65.87 | 51064 | 0.3009 | 11 | 66.0938 | 18 | 271 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.167 | 0.043803 | 0.1232 | 90 | 1.22 | 62.77 | 0.61 | 45306 | 569 | 14630 | 89.95 | 73.3 | 92172 | 0.5432 | 31 | 217.6452 | 49 | 928 | 0 | 358 | 0 | bess_energy_depleted
1 | 0.167 | 0.043803 | 0.1232 | 100 | 5.46 | 281.64 | 2.73 | 31410 | 363 | 73 | 99.95 | 81.49 | 336399 | 1.9823 | 154 | 1519.8671 | 256 | 3972 | 0 | 357 | 0 | bess_energy_depleted
1 | 0.172 | 0.045115 | 0.12689 | 60 | 0.5 | 25.81 | 0.25 | 82906 | 806 | 59898 | 60.05 | 51.14 | 51771 | 0.3051 | 11 | 69.2781 | 18 | 289 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.172 | 0.045115 | 0.12689 | 70 | 0.5 | 25.81 | 0.25 | 68424 | 753 | 44905 | 70.05 | 59.68 | 51718 | 0.3048 | 11 | 69.2781 | 18 | 289 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.172 | 0.045115 | 0.12689 | 80 | 0.52 | 27.01 | 0.26 | 55537 | 718 | 30062 | 79.95 | 67.27 | 53020 | 0.3124 | 11 | 73.8575 | 19 | 356 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.172 | 0.045115 | 0.12689 | 90 | 1.36 | 70.16 | 0.68 | 41705 | 531 | 15068 | 89.95 | 75.42 | 101028 | 0.5953 | 35 | 283.2082 | 56 | 1133 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.172 | 0.045115 | 0.12689 | 100 | 6.44 | 332.53 | 3.22 | 27269 | 320 | 75 | 99.95 | 83.93 | 393842 | 2.3208 | 183 | 1874.6548 | 311.5 | 4533 | 0 | 357 | 18 | bess_energy_depleted
1 | 0.177 | 0.046426 | 0.13057 | 60 | 0.5 | 25.81 | 0.25 | 80350 | 786 | 61640 | 60.05 | 52.65 | 52395 | 0.3088 | 11 | 72.2322 | 18 | 316 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.177 | 0.046426 | 0.13057 | 70 | 0.5 | 25.81 | 0.25 | 65497 | 734 | 46211 | 70.05 | 61.4 | 52343 | 0.3084 | 11 | 72.2322 | 18 | 316 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.177 | 0.046426 | 0.13057 | 80 | 0.58 | 30.04 | 0.29 | 52321 | 682 | 30936 | 79.95 | 69.17 | 57015 | 0.336 | 13 | 86.8877 | 21 | 391 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.177 | 0.046426 | 0.13057 | 90 | 1.54 | 79.54 | 0.77 | 38091 | 490 | 15506 | 89.95 | 77.55 | 112103 | 0.6606 | 41 | 354.126 | 65 | 1370 | 0 | 357 | 18 | bess_energy_depleted
1 | 0.177 | 0.046426 | 0.13057 | 100 | 7.43 | 383.41 | 3.71 | 23126 | 281 | 77 | 99.95 | 86.37 | 451267 | 2.6592 | 213 | 2375.4048 | 435.4 | 5008 | 0 | 357 | 0 | bess_energy_depleted
1 | 0.182 | 0.047738 | 0.13426 | 60 | 0.5 | 25.81 | 0.25 | 77812 | 767 | 63381 | 60.05 | 54.15 | 53019 | 0.3124 | 11 | 74.8568 | 18 | 357 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.182 | 0.047738 | 0.13426 | 70 | 0.5 | 25.81 | 0.25 | 62556 | 717 | 47516 | 70.05 | 63.14 | 52969 | 0.3121 | 11 | 74.8568 | 18 | 357 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.182 | 0.047738 | 0.13426 | 80 | 0.65 | 33.37 | 0.32 | 49116 | 647 | 31809 | 79.95 | 71.06 | 61342 | 0.3615 | 15 | 110.3021 | 24 | 506 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.182 | 0.047738 | 0.13426 | 90 | 1.76 | 90.74 | 0.88 | 34550 | 449 | 15944 | 89.95 | 79.64 | 125218 | 0.7379 | 47 | 435.1438 | 76 | 1596 | 0 | 358 | 6 | bess_energy_depleted
1 | 0.182 | 0.047738 | 0.13426 | 100 | 8.78 | 453.49 | 4.39 | 18990 | 247 | 79 | 99.95 | 88.81 | 530150 | 3.1241 | 290 | 3871.1856 | 525.4 | 8176 | 0 | 353 | 6 | bess_energy_depleted
1 | 0.187 | 0.049049 | 0.13795 | 60 | 0.5 | 25.81 | 0.25 | 75300 | 749 | 65122 | 60.05 | 55.63 | 53644 | 0.3161 | 11 | 75.9623 | 18 | 359 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.187 | 0.049049 | 0.13795 | 70 | 0.5 | 25.81 | 0.25 | 59617 | 700 | 48821 | 70.05 | 64.87 | 53595 | 0.3158 | 11 | 75.9623 | 18 | 359 | 0 | 227 | 18 | bess_energy_depleted
1 | 0.187 | 0.049049 | 0.13795 | 80 | 0.72 | 37.15 | 0.36 | 45938 | 613 | 32683 | 79.95 | 72.93 | 66173 | 0.3899 | 18 | 130.211 | 27 | 577 | 0 | 358 | 12 | bess_energy_depleted
1 | 0.187 | 0.049049 | 0.13795 | 90 | 2.05 | 105.91 | 1.03 | 30986 | 411 | 16382 | 89.95 | 81.74 | 142768 | 0.8413 | 54 | 517.0747 | 91 | 1706 | 0 | 359 | 0 | bess_energy_depleted
1 | 0.187 | 0.049049 | 0.13795 | 100 | 12.36 | 638.1 | 6.18 | 14872 | 189 | 82 | 99.95 | 91.24 | 736913 | 4.3425 | 422 | 4158.2308 | 830.4 | 8486 | 0 | 347 | 18 | bess_energy_depleted
1 | 0.192 | 0.050361 | 0.14164 | 60 | 0.5 | 25.81 | 0.25 | 72751 | 731 | 66863 | 60.05 | 57.13 | 54270 | 0.3198 | 11 | 78.7048 | 18 | 361 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.192 | 0.050361 | 0.14164 | 70 | 0.5 | 25.81 | 0.25 | 56659 | 684 | 50127 | 70.05 | 66.61 | 54223 | 0.3195 | 11 | 78.7048 | 18 | 361 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.192 | 0.050361 | 0.14164 | 80 | 0.8 | 41.43 | 0.4 | 42782 | 579 | 33557 | 79.95 | 74.79 | 71561 | 0.4217 | 20 | 158.6849 | 31 | 745 | 0 | 360 | 12 | bess_energy_depleted
1 | 0.192 | 0.050361 | 0.14164 | 90 | 2.53 | 130.5 | 1.26 | 27254 | 369 | 16820 | 89.95 | 83.94 | 170828 | 1.0067 | 69 | 855.2658 | 113 | 2559 | 0 | 358 | 0 | bess_energy_depleted
1 | 0.192 | 0.050361 | 0.14164 | 100 | 20.18 | 1041.89 | 10.09 | 10794 | 133 | 84 | 99.95 | 93.64 | 1188474 | 7.0035 | 751 | 4767.6527 | 1397.8 | 8760 | 0.042466 | 334 | 0 | bess_energy_depleted
1 | 0.197 | 0.051672 | 0.14533 | 60 | 0.5 | 25.81 | 0.25 | 70198 | 714 | 68605 | 60.05 | 58.63 | 54896 | 0.3235 | 11 | 80.8534 | 18 | 380 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.197 | 0.051672 | 0.14533 | 70 | 0.5 | 25.81 | 0.25 | 53708 | 668 | 51432 | 70.05 | 68.35 | 54851 | 0.3232 | 11 | 80.8534 | 18 | 380 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.197 | 0.051672 | 0.14533 | 80 | 0.91 | 46.99 | 0.46 | 39651 | 543 | 34431 | 79.95 | 76.63 | 78380 | 0.4619 | 23 | 245.2637 | 37 | 1413 | 0 | 358 | 6 | bess_energy_depleted
1 | 0.197 | 0.051672 | 0.14533 | 90 | 3.15 | 162.85 | 1.58 | 23771 | 332 | 17258 | 89.95 | 85.99 | 207565 | 1.2231 | 85 | 1045.4445 | 144 | 2852 | 0 | 357 | 18 | bess_energy_depleted
1 | 0.197 | 0.051672 | 0.14533 | 100 | 30.09 | 1553.36 | 15.05 | 6780 | 73 | 86 | 99.95 | 96 | 1760287 | 10.3731 | 8760 | 8760 | 8760 | 8760 | 1 | 1 | 0
1 | 0.202 | 0.052984 | 0.14902 | 60 | 0.5 | 25.81 | 0.25 | 67654 | 697 | 70346 | 60.05 | 60.13 | 55523 | 0.3272 | 11 | 83.1993 | 18 | 381 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.202 | 0.052984 | 0.14902 | 70 | 0.5 | 25.81 | 0.25 | 50735 | 653 | 52737 | 70.05 | 70.1 | 55479 | 0.3269 | 11 | 83.1993 | 18 | 381 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.202 | 0.052984 | 0.14902 | 80 | 1.06 | 54.73 | 0.53 | 36573 | 504 | 35305 | 79.95 | 78.45 | 87626 | 0.5164 | 27 | 318.0801 | 43 | 1541 | 0 | 358 | 6 | bess_energy_depleted
1 | 0.202 | 0.052984 | 0.14902 | 90 | 4.34 | 224.01 | 2.17 | 20416 | 288 | 17697 | 89.95 | 87.97 | 276467 | 1.6292 | 121 | 2544.9815 | 220.9 | 6495 | 0 | 358 | 6 | bess_energy_depleted
1 | 0.202 | 0.052984 | 0.14902 | 100 | 40.35 | 2082.77 | 20.17 | 2756 | 21 | 88 | 99.95 | 98.38 | 2352147 | 13.8608 | 8760 | 8760 | 8760 | 8760 | 1 | 1 | 0
1 | 0.207 | 0.054295 | 0.1527 | 60 | 0.5 | 25.81 | 0.25 | 65098 | 681 | 72087 | 60.05 | 61.64 | 56150 | 0.3309 | 11 | 96.239 | 18 | 464 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.207 | 0.054295 | 0.1527 | 70 | 0.5 | 25.81 | 0.25 | 47830 | 639 | 54043 | 70.05 | 71.81 | 56109 | 0.3306 | 11 | 96.239 | 18 | 464 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.207 | 0.054295 | 0.1527 | 80 | 1.25 | 64.52 | 0.62 | 33547 | 463 | 36179 | 79.95 | 80.23 | 99161 | 0.5843 | 32 | 399.9137 | 53 | 1686 | 0 | 358 | 0 | bess_energy_depleted
1 | 0.207 | 0.054295 | 0.1527 | 90 | 6.22 | 321.03 | 3.11 | 16849 | 237 | 18135 | 89.95 | 90.07 | 385418 | 2.2712 | 176 | 2707.8007 | 331.8 | 6661 | 0 | 358 | 0 | bess_energy_depleted
1 | 0.212 | 0.055607 | 0.15639 | 60 | 0.5 | 25.81 | 0.25 | 62566 | 665 | 73828 | 60.05 | 63.13 | 56779 | 0.3346 | 11 | 97.7664 | 19 | 465 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.212 | 0.055607 | 0.15639 | 70 | 0.5 | 25.81 | 0.25 | 45559 | 627 | 55348 | 70.05 | 73.15 | 56741 | 0.3344 | 11 | 97.7664 | 19 | 465 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.212 | 0.055607 | 0.15639 | 80 | 1.46 | 75.6 | 0.73 | 30473 | 423 | 37053 | 79.95 | 82.04 | 112137 | 0.6608 | 38 | 492.1904 | 64 | 2035 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.212 | 0.055607 | 0.15639 | 90 | 12.21 | 630.27 | 6.1 | 13293 | 178 | 18573 | 89.95 | 92.17 | 731374 | 4.3099 | 423 | 4289.563 | 855.4 | 8638 | 0 | 347 | 18 | bess_energy_depleted
1 | 0.217 | 0.056918 | 0.16008 | 60 | 0.5 | 25.81 | 0.25 | 60043 | 651 | 75570 | 60.05 | 64.62 | 57408 | 0.3383 | 11 | 102.7048 | 19 | 467 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.217 | 0.056918 | 0.16008 | 70 | 0.5 | 26 | 0.25 | 44398 | 616 | 56843 | 69.95 | 73.84 | 57580 | 0.3393 | 11 | 102.7048 | 19 | 467 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.217 | 0.056918 | 0.16008 | 80 | 1.73 | 89.35 | 0.87 | 27527 | 386 | 37927 | 79.95 | 83.78 | 128111 | 0.7549 | 46 | 618.4438 | 78 | 2088 | 0 | 358 | 6 | bess_energy_depleted
1 | 0.217 | 0.056918 | 0.16008 | 90 | 21.3 | 1099.66 | 10.65 | 9719 | 119 | 19011 | 89.95 | 94.27 | 1256192 | 7.4025 | 815 | 4976.9616 | 1572.7 | 8760 | 0.069178 | 332 | 0 | bess_energy_depleted
1 | 0.222 | 0.05823 | 0.16377 | 60 | 0.5 | 25.81 | 0.25 | 57523 | 637 | 77311 | 60.05 | 66.1 | 58037 | 0.342 | 11 | 104.7021 | 19 | 486 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.222 | 0.05823 | 0.16377 | 70 | 0.56 | 29.1 | 0.28 | 41711 | 586 | 58152 | 69.95 | 75.42 | 61664 | 0.3634 | 12 | 128.1623 | 21 | 624 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.222 | 0.05823 | 0.16377 | 80 | 2.15 | 111.01 | 1.08 | 24508 | 347 | 38801 | 79.95 | 85.56 | 152899 | 0.901 | 57 | 997.8432 | 101 | 2840 | 0 | 359 | 0 | bess_energy_depleted
1 | 0.222 | 0.05823 | 0.16377 | 90 | 30.39 | 1568.81 | 15.2 | 6161 | 64 | 19449 | 89.95 | 96.37 | 1780750 | 10.4937 | 8760 | 8760 | 8760 | 8760 | 1 | 1 | 0
1 | 0.227 | 0.059541 | 0.16746 | 60 | 0.5 | 25.81 | 0.25 | 55011 | 624 | 79052 | 60.05 | 67.58 | 58668 | 0.3457 | 11 | 109.824 | 19 | 487 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.227 | 0.059541 | 0.16746 | 70 | 0.64 | 33.29 | 0.32 | 39064 | 553 | 59462 | 69.95 | 76.98 | 66955 | 0.3946 | 15 | 228.6205 | 25 | 1415 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.227 | 0.059541 | 0.16746 | 80 | 2.79 | 144.17 | 1.4 | 21637 | 312 | 39674 | 79.95 | 87.25 | 190547 | 1.1229 | 75 | 1378.0404 | 132 | 4304 | 0 | 358 | 6 | bess_energy_depleted
1 | 0.227 | 0.059541 | 0.16746 | 90 | 39.47 | 2037.74 | 19.74 | 2586 | 20 | 19887 | 89.95 | 98.48 | 2305067 | 13.5834 | 8760 | 8760 | 8760 | 8760 | 1 | 1 | 0
1 | 0.232 | 0.060852 | 0.17115 | 60 | 0.5 | 25.81 | 0.25 | 52482 | 611 | 80793 | 60.05 | 69.07 | 59299 | 0.3494 | 11 | 145.5466 | 19 | 1028 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.232 | 0.060852 | 0.17115 | 70 | 0.75 | 38.5 | 0.37 | 36451 | 518 | 60772 | 69.95 | 78.52 | 73379 | 0.4324 | 19 | 247.2548 | 30 | 1428 | 0 | 358 | 12 | bess_energy_depleted
1 | 0.232 | 0.060852 | 0.17115 | 80 | 4.06 | 209.84 | 2.03 | 18691 | 266 | 40548 | 79.95 | 88.99 | 264484 | 1.5586 | 113 | 2596.9712 | 222.8 | 6562 | 0 | 357 | 18 | bess_energy_depleted
1 | 0.237 | 0.062164 | 0.17484 | 60 | 0.5 | 25.81 | 0.25 | 49964 | 599 | 82535 | 60.05 | 70.56 | 59930 | 0.3532 | 11 | 156.963 | 19 | 1029 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.237 | 0.062164 | 0.17484 | 70 | 0.87 | 45.12 | 0.44 | 33859 | 484 | 62082 | 69.95 | 80.05 | 81382 | 0.4796 | 22 | 376.5651 | 36 | 1957 | 0 | 358 | 6 | bess_energy_depleted
1 | 0.237 | 0.062164 | 0.17484 | 80 | 5.82 | 300.62 | 2.91 | 15621 | 220 | 41422 | 79.95 | 90.8 | 366472 | 2.1596 | 166 | 3291.6021 | 329.9 | 7506 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.242 | 0.063475 | 0.17852 | 60 | 0.5 | 25.81 | 0.25 | 47409 | 588 | 84276 | 60.05 | 72.06 | 60563 | 0.3569 | 11 | 157.3774 | 19 | 1029 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.242 | 0.063475 | 0.17852 | 70 | 1.04 | 53.56 | 0.52 | 31277 | 448 | 63391 | 69.95 | 81.57 | 91414 | 0.5387 | 27 | 445.0103 | 44 | 2013 | 0 | 358 | 6 | bess_energy_depleted
1 | 0.242 | 0.063475 | 0.17852 | 80 | 12.29 | 634.45 | 6.15 | 12668 | 169 | 42296 | 79.95 | 92.53 | 739898 | 4.3601 | 433 | 4429.5788 | 915.4 | 8760 | 0.0041096 | 347 | 18 | bess_energy_depleted
1 | 0.247 | 0.064787 | 0.18221 | 60 | 0.5 | 25.81 | 0.25 | 44870 | 577 | 86017 | 60.05 | 73.56 | 61195 | 0.3606 | 11 | 164.6322 | 19 | 1030 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.247 | 0.064787 | 0.18221 | 70 | 1.22 | 62.73 | 0.61 | 28679 | 413 | 64701 | 69.95 | 83.1 | 102260 | 0.6026 | 31 | 475.237 | 54.9 | 2035 | 0 | 358 | 0 | bess_energy_depleted
1 | 0.247 | 0.064787 | 0.18221 | 80 | 20.59 | 1063.01 | 10.3 | 9397 | 115 | 43170 | 79.95 | 94.46 | 1219115 | 7.184 | 813 | 5058.85 | 1584.4 | 8760 | 0.080822 | 332 | 0 | bess_energy_depleted
1 | 0.252 | 0.066098 | 0.1859 | 60 | 0.5 | 25.81 | 0.25 | 42313 | 567 | 87758 | 60.05 | 75.07 | 61828 | 0.3643 | 11 | 170.0233 | 19 | 1030 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.252 | 0.066098 | 0.1859 | 70 | 1.45 | 74.93 | 0.73 | 26083 | 377 | 66011 | 69.95 | 84.63 | 116502 | 0.6865 | 38 | 653.476 | 67 | 2107 | 0 | 357 | 18 | bess_energy_depleted
1 | 0.252 | 0.066098 | 0.1859 | 80 | 28.71 | 1481.9 | 14.35 | 6210 | 66 | 44044 | 79.95 | 96.34 | 1687551 | 9.9445 | 8760 | 8760 | 8760 | 8760 | 1 | 1 | 0
1 | 0.257 | 0.06741 | 0.18959 | 60 | 0.5 | 25.81 | 0.25 | 39847 | 557 | 89500 | 60.05 | 76.52 | 62462 | 0.3681 | 11 | 173.0411 | 19 | 1031 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.257 | 0.06741 | 0.18959 | 70 | 1.84 | 94.76 | 0.92 | 23583 | 339 | 67321 | 69.95 | 86.1 | 139247 | 0.8206 | 49 | 1304.2432 | 91 | 4236 | 0 | 358 | 6 | bess_energy_depleted
1 | 0.257 | 0.06741 | 0.18959 | 80 | 36.36 | 1876.93 | 18.18 | 3177 | 27 | 44918 | 79.95 | 98.13 | 2129340 | 12.5478 | 8760 | 8760 | 8760 | 8760 | 1 | 1 | 0
1 | 0.262 | 0.068721 | 0.19328 | 60 | 0.5 | 25.81 | 0.25 | 38022 | 549 | 91262 | 60.04 | 77.59 | 63098 | 0.3718 | 11 | 220.9952 | 19 | 1409 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.262 | 0.068721 | 0.19328 | 70 | 2.33 | 120.41 | 1.17 | 21103 | 303 | 68630 | 69.95 | 87.56 | 168501 | 0.9929 | 62 | 2168.2055 | 117 | 6049 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.262 | 0.068721 | 0.19328 | 80 | 44.47 | 2295.48 | 22.23 | 0 | 0 | 45792 | 79.95 | 100 | 2597408 | 15.3061 | 8760 | 8760 | 8760 | 8760 | 1 | 1 | 0
1 | 0.267 | 0.070033 | 0.19697 | 60 | 0.5 | 25.89 | 0.25 | 37448 | 543 | 93215 | 59.95 | 77.93 | 63822 | 0.3761 | 11 | 221.6877 | 19 | 1409 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.267 | 0.070033 | 0.19697 | 70 | 3.03 | 156.48 | 1.52 | 18549 | 268 | 69940 | 69.95 | 89.07 | 209395 | 1.2339 | 82 | 2246.776 | 157.9 | 6115 | 0 | 358 | 0 | bess_energy_depleted
1 | 0.272 | 0.071344 | 0.20066 | 60 | 0.54 | 27.67 | 0.27 | 36137 | 526 | 94960 | 59.95 | 78.7 | 66434 | 0.3915 | 12 | 225.889 | 21 | 1412 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.272 | 0.071344 | 0.20066 | 70 | 4.51 | 232.98 | 2.26 | 16009 | 228 | 71250 | 69.95 | 90.57 | 295440 | 1.741 | 126 | 3212.0603 | 274.9 | 7421 | 0 | 358 | 0 | bess_energy_depleted
1 | 0.277 | 0.072656 | 0.20434 | 60 | 0.61 | 31.74 | 0.31 | 33900 | 496 | 96706 | 59.95 | 80.02 | 71601 | 0.4219 | 14 | 238.2068 | 25 | 1425 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.277 | 0.072656 | 0.20434 | 70 | 8.33 | 429.83 | 4.16 | 13493 | 185 | 72560 | 69.95 | 92.05 | 515891 | 3.0401 | 291 | 4129.3192 | 604.4 | 8483 | 0 | 353 | 6 | bess_energy_depleted
1 | 0.282 | 0.073967 | 0.20803 | 60 | 0.71 | 36.79 | 0.36 | 31728 | 465 | 98452 | 59.95 | 81.3 | 77853 | 0.4588 | 17 | 404.8801 | 30 | 1953 | 0 | 360 | 18 | bess_energy_depleted
1 | 0.282 | 0.073967 | 0.20803 | 70 | 15.16 | 782.58 | 7.58 | 10772 | 139 | 73869 | 69.95 | 93.65 | 910456 | 5.3652 | 599 | 4767.1493 | 1270.4 | 8760 | 0.044521 | 341 | 0 | bess_energy_depleted
1 | 0.287 | 0.075279 | 0.21172 | 60 | 0.84 | 43.26 | 0.42 | 29546 | 433 | 100197 | 59.95 | 82.59 | 85692 | 0.505 | 22 | 433.8849 | 36 | 2017 | 0 | 358 | 6 | bess_energy_depleted
1 | 0.287 | 0.075279 | 0.21172 | 70 | 22.21 | 1146.35 | 11.1 | 7987 | 95 | 75179 | 69.95 | 95.29 | 1317329 | 7.7628 | 8760 | 8760 | 8760 | 8760 | 1 | 1 | 0
1 | 0.292 | 0.07659 | 0.21541 | 60 | 0.99 | 50.87 | 0.49 | 27388 | 402 | 101943 | 59.95 | 83.86 | 94803 | 0.5587 | 25 | 463.663 | 43.9 | 2039 | 0 | 358 | 6 | bess_energy_depleted
1 | 0.292 | 0.07659 | 0.21541 | 70 | 29.2 | 1507.17 | 14.6 | 5229 | 53 | 76489 | 69.95 | 96.92 | 1720911 | 10.141 | 8760 | 8760 | 8760 | 8760 | 1 | 1 | 0
1 | 0.297 | 0.077902 | 0.2191 | 60 | 1.14 | 59.04 | 0.57 | 25177 | 371 | 103688 | 59.95 | 85.16 | 104537 | 0.616 | 29 | 518.6336 | 53 | 2161 | 0 | 358 | 0 | bess_energy_depleted
1 | 0.297 | 0.077902 | 0.2191 | 70 | 36.19 | 1868.1 | 18.09 | 2451 | 19 | 77799 | 69.95 | 98.56 | 2124620 | 12.52 | 8760 | 8760 | 8760 | 8760 | 1 | 1 | 0
1 | 0.302 | 0.079213 | 0.22279 | 60 | 1.36 | 70.46 | 0.68 | 23042 | 341 | 105434 | 59.95 | 86.42 | 117907 | 0.6948 | 35 | 842.787 | 65 | 2881 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.307 | 0.080525 | 0.22648 | 60 | 1.77 | 91.3 | 0.88 | 21024 | 304 | 107179 | 59.95 | 87.61 | 141786 | 0.8355 | 47 | 2124.3767 | 93.9 | 6011 | 0 | 358 | 6 | bess_energy_depleted
1 | 0.312 | 0.081836 | 0.23016 | 60 | 2.25 | 116.15 | 1.12 | 18862 | 270 | 108925 | 59.95 | 88.88 | 170144 | 1.0026 | 60 | 2181.9164 | 123.9 | 6064 | 0 | 358 | 18 | bess_energy_depleted
1 | 0.317 | 0.083148 | 0.23385 | 60 | 2.88 | 148.65 | 1.44 | 16671 | 242 | 110671 | 59.95 | 90.18 | 207062 | 1.2202 | 78 | 2278.9034 | 164 | 6119 | 0 | 358 | 0 | bess_energy_depleted
1 | 0.322 | 0.084459 | 0.23754 | 60 | 4.3 | 222 | 2.15 | 14590 | 207 | 112416 | 59.95 | 91.4 | 289595 | 1.7065 | 120 | 3234.6041 | 297.4 | 7444 | 0 | 358 | 6 | bess_energy_depleted
1 | 0.327 | 0.08577 | 0.24123 | 60 | 8.34 | 430.36 | 4.17 | 12491 | 171 | 114162 | 59.95 | 92.64 | 522901 | 3.0814 | 300 | 4248.1767 | 730.4 | 8609 | 0 | 353 | 0 | bess_energy_depleted
1 | 0.332 | 0.087082 | 0.24492 | 60 | 14.18 | 732.11 | 7.09 | 10157 | 132 | 115907 | 59.95 | 94.01 | 860510 | 5.0708 | 590 | 4785.4103 | 1290.4 | 8760 | 0.04726 | 341 | 6 | bess_energy_depleted
1 | 0.337 | 0.088393 | 0.24861 | 60 | 20.12 | 1038.81 | 10.06 | 7793 | 94 | 117653 | 59.95 | 95.41 | 1203655 | 7.0929 | 905 | 5232.8726 | 1777.4 | 8760 | 0.10274 | 328 | 6 | bess_energy_depleted
1 | 0.342 | 0.089705 | 0.2523 | 60 | 26.08 | 1346.38 | 13.04 | 5425 | 58 | 119399 | 59.95 | 96.8 | 1547773 | 9.1208 | 8760 | 8760 | 8760 | 8760 | 1 | 1 | 0
1 | 0.347 | 0.091016 | 0.25598 | 60 | 32.04 | 1653.96 | 16.02 | 3049 | 27 | 121144 | 59.95 | 98.2 | 1891896 | 11.1486 | 8760 | 8760 | 8760 | 8760 | 1 | 1 | 0
1 | 0.352 | 0.092328 | 0.25967 | 60 | 38 | 1961.53 | 19 | 661 | 3 | 122890 | 59.95 | 99.61 | 2236027 | 13.1765 | 8760 | 8760 | 8760 | 8760 | 1 | 1 | 0